## I. Engineered system
P Balance Spreadsheet Calculator - Urban System Component
Name of system: | City of Albert Lea
| Green cells require user input | Values in pink cells are default values.
I. Engineered Systems
A. Households on sewer | Flux, kg/yr |  | Comments | Reference
1. P inputs
Population on sewer | 18000 |  | Obtain from Water Treatment Plant. This is not necessarily equal to the city's population, because there may be some septic systems within the municipal boundary. | Albert Lea Public Works
Consumed food, kg P/capita/yr | 0.6 |  | Default is 0.6, based on analysis of the Twin Cities diet; Fissore et al., 2011 | Fissore et al., 2011
Wasted food, kg P/capita/yr | 0.24 |  | Calculated as the sum of food waste utilized, food waste landfilled, food to garbage grinder | Nidgorski et al., in prep.
Household chemicals, kg P/capita/yr | 0.61 |  | Estimated "by difference" - see Users Manual
Pet food, kg P/capita/yr | 0.13453 |  | Fissore et al., 2010. Pet food is an input to the inside of the household, but excretion is transferred to the landscape sheet.
Total input, kg P/capita/yr | 1.5845
2. P outputs
Human excretion, kg P/capita/yr | 0.6 |  | Excretion equals consumed food. | Fissore et al., 2011
Pet waste to solid waste, kg P/capita-yr | 0.060538 |  | This is the dog waste that is picked up -see Urban Landscape sheet.
Residential food + pet waste: | 0.30054
Solid waste, no in-sink grinder, kg/capita/yr | 0.30054 |  | Lines 20-26 allocate food waste to sewage or solid waste, depending on whether household has garbage grinder | Nidgorski et al, in prep.
Solid waste, with grinder, kg P/capita/yr | 0.25054
Solid waste to sewage, with grinder, kg P/capita/yr | 0.05
Solid waste to sewage, without grinder | 0
Household chemicals, kg P/capita/yr | 0.61
Sewage output with grinder, kg/capita/yr | 1.26
Sewage output without grinder | 1.21
Aggregated P inputs, kg P/yr | 28521.5247
Percentage with grinders | 52 |  | Default value from TCHEP | Fissore et al., 2011.
Sewage, kg P/yr | 22248 |  | Weighted averages | Nidgorksi, et al., in prep.
Solid waste, kg P/yr | 6273.5247
Input - output = 0? | 0 |  | Should be 0
B. Households on septic
Population on septic | 0 |  | User defined; need watershed-specific information
Total input, kg P/yr | 0
Percentage with garbage grinders | 52 |  | Default is TCHEP value | Fissore et al., 2011
Sewage flux, kg/year | 0 |  | Weighted average
Percentage of P to sludge | 30 |  | Data from septic system study | Lowe et al., 2004
P flux to sludge, kg P/yr | 0 |  | Calculated; transfer to wastewater or ag land. Linked to b46
P flux to leach fields, kg P/yr | 0 |  | Calculated
P flux to solid waste, kg P/y | 0 |  | Calculated
Check: input - output = 0 | 0 |  | Answer should be 0
C. Industrial system
P inputs from raw products | 1770228 |  | Values for cells B46 to B51 have to be determined by the user - see Users Manual. The values seen here are for the City of Albert Lea
P inputs from chemicals (cleansers, etc.) | 3722
P outputs in products | 39272
P output as by-products | 1617098
P to sewage | 21867
P to solid waste | 494
D. Sewage disposal - wastewater treatment
P removal in wastewater
Are septic biosolids added to sewage? | no |  | Should be "yes" or "no"
Total influent P load, kg/yr | 44115 |  | Calculated to include septic sludge
P removal in wastewater treatment (a) or (b) |  |  | Choose either option (a) enter your own calculation; or (b) pick a type of treatment plant
(a) Calculated | 36 |  | If calculated from monthly wastewater data, this value will be used
(b) Based on level of treatment |  |  | If you are not calculating wastewater P removal (line 45), indicate the level of treatment by a capital "X" in the appropriate box (b47,b48,49)
None |  |  | 0%. This would apply if sewage was piped outside watershed for treatment
Sewage lagoon |  |  | 50% P removal | Metcalf and Eddy, 1991
Secondary (e.g., activated sludge) |  |  | 50% P removal | " "
Advanced ( P removal) |  |  | 95% P removal | Met Council plants
P removal, kg/yr | 15881.4 |  | This becomes biosolids
Effluent P, kg/yr | 28233.6
What percentage of effluent is recycled to agriculture? | 0 |  | This can be 0 to 100, based on local information from the wastewater treatment plant.
D. Summary: Fate of P fluxes from engineered household system
1. Total P inputs | 1802471.5247
1. Stream export
Sewage effluent to stream | 28233.6
2. Deliberate exports | 1656370
Primary industrial products, kg P/yr | 39272
% wastewater treatemt biosolids exported from watershed? | 100 |  | User defined; need watershed information
% septic sludge exported | 0 |  | If your answer to B54 is "yes", B76 should be 0. Otherwise, use local information to determine how much is used within the watershed vs. exported.
Exported biosolids, kg P/yr | 15881.4 |  | Calculated
Is household waste landfilled within the watershed? | no |  | Answer yes or no
Export of food waste to landfills, kg P /yr | 6273.5247 |  | This would occur either directly - food sent to landfills outside the watershed, or indirectly, as ash from incinerated food waste
Export of by-products | 1617098
Export of sewage effluent to agriculture | 0
Total deliberate export, kg P/yr | 1623371.5247
3. Accumulation within city
Landfills, kg P/yr | 0
Septic leacheate, kg P/yr | 0
Total accumulation, kg P/yr | 0
4. Transfers within watershed (e.g, to ag fields)
WTP biosolids to agriculture | 0
Septic sludge to agriculture | 0
Check: inputs = fate?
Inputs | 50388.5247 |  | Last line should be "0"
Stream export+deliberate exports+accumulation+transfers | 1651605.1247
This should be 0 | -1601216.6

## II. Urban landscape
P Balance Spreadsheet Calculator - Urban System Component
Green cells require user input
III. Urban landscapes | Data | Comments | Source
A. Demographic and land use data
Population in households | 17401 | Data for rows 4-6 are from the U.S. Census' American Factfinder | U.S. Census 2010
Average size of household (all types) | 2.23 |  | U.S. Census 2010
Number of households (all types) | 7803.139 |  | U.S. Census 2010
Total urban area, acres | 7536 | Data for cells B10 and B12 would come from local comprhensive planning reports or GIS files
" ", ha | 3541.92
Area of parks and public green spaces, ac | 344
" ", ha | 161.68
Population in single-family homes | 12575 | Data from U.S. Census "American Factfinder"
Number of single-family households | 5420
Average lawn area/single family house, ha | 0.36 | Calculated from the TCHEP survey. This is lawn area per household, e.g., pervious area | Fissore et al., 2011
B. P inputs to urban landscapes
Wet deposition, kg P/ha-yr | 0.198 | Select values from Table 5 of the cited reference | Barr, 2007
Dry deposition, kg P/ha-yr | 0.31 | " " | Barr, 2007
Total atmospheric deposition,kg/yr | 1799.2954
Dog food P, kg/household | 0.3 | The default value is 0.3 - see reference to right | Fissore et al., 2011
Feces removed, % | 60 | The default value is 60% - see reference | Swann et al., 1999
Dog excretion to lawn, kg/household/yr | 0.165 | Calculated from total food P, with 25% of P in urine and 75% in feces; feces only are removed | See appendix A in Fissore et al. 2011
Dog excretion removed, kg/household/yr | 0.135 | This value is added to the engineered system page.
Total dog P excretion, kg/yr | 1287.5179
Estimate irrigation volume, MG/yr | 90 | Calculated from summer-winter water prodduction | Albert Lea Water plant
Total P of municipal water, mg P/L | 0.4 | Data obtained from local municipal water supplier or, in Minnesota, from the MN Department of Health.
Total P from irrigation, kg/yr | 136.08
Lawn fertilization, lb P2O5/1000 sq. feet | 0 | Assumed value, due to restriction from Minnesota's lawn P fertilizer law.
Lawn fertilization, user-defined |  | If a value is entered here, this value will be used in the calculation on line 32.
Total P added to residential lawns, kg/yr | 0
Fertilization of parks and golf courses, lb P2O5/1000 sq. ft | 0 | Golf course can use P fertilizer, so a user may inquire about P fertilzation of local golf courses. 0 is assumed here.
" ", kg P/ha | 0
Area, acres | 0
P applied to golf courses, kg/yr | 0
Total P entering urban landscape, kg P/yr | 3222.8933
B. P outputs
Stormwater yield, kg/ha-yr | 0.5 | Default value of 0.5 is the average of warm weather yields for 6 stormwater drainages in the Capital Region Watershed District, St. Paul | Janke et al., 2014
Use default? Enter "yes" or "no" | yes | You must enter "yes" or "no"
" ", if determined locally, kg/ha-yr |  | Number entered here will replace the default value
Annual stormwater P export, kg/yr | 1770.96
Landscape vegetation waste, kg P/household-yr | 0.1 | Determined in TCHEP.This is sum of exported lawn clipplings, tree leaves, etc. removed from the household lawn, on average. | Fissore et al., 2010
Landscape wastes, kg P/yr | 542 | This is sum of exported lawn clipplings, tree leaves, etc. removed from the household lawn, on average.
Reycling of landscape compost? | yes | Most yard waste is composted and returned to urban landscapes. Some might be exported to agricultural fields. Answer "yes" or "no" based on local inquiry
% Compost added to urban landscape, kg P/yr | 0 | This would be the most common situation
Recycled compost from landscape wastes recycled, kg P/yr | 0
Municipal compost exported, kg P/yr | 542 | This is calculated.
Total P exported from urban landscape, kg/Yr | 2312.96
Summary:
P input to landscapes, kg P/yr | 3222.8933
Deliberate export, kg P/yr | 542
Stormwater export, kg P/yr | 1770.96
Recycled compost, kg P/yr | 0
Accumulation (including recylced compost), kg P/yr | 909.9333
% accumulation, compared to input | 28.2334